## Slide 1: μMUX Test Box Characterization
Matthew Withers
Stanford University
2022-08-16

## Slide 2: Resonance Comb (No flux ramp bias or simulated TES signal)

## Slide 3: Windowed Resonances (No flux ramp bias or simulated TES signal)

## Slide 4: Windowed Resonances (No flux ramp bias or simulated TES signal)

## Slide 5: Background Removal (No flux ramp bias or simulated TES signal)

## Slide 6: Background Removal (No flux ramp bias or simulated TES signal)

## Slide 7: Linear Normalization (No flux ramp bias or simulated TES signal)

## Slide 8: Linear Normalization (No flux ramp bias or simulated TES signal)

## Slide 9: Fit (No flux ramp bias or simulated TES signal)
Blue = Data
Orange = Initial Fit
Green = Best Fit

## Slide 10: Fit (No flux ramp bias or simulated TES signal)
Blue = Data
Orange = Initial Fit
Green = Best Fit

## Slide 11: Fit Parameters (No flux ramp bias or simulated TES signal)

## Slide 12: Fits with Voltage Applied to Flux Ramp Bias Line (across 1 Φ0)
Blue = Data
Orange = Initial Fit
Green = Best Fit
Observations:
Resonance 1 not connected to flux ramp bias line (by design)
A few resonances (e.g., 5, 27, 52, 53) move in the opposite direction under a bias on the flux ramp line (SQUID curves out of phase with other resonators)
Resonances 7 and 36 failed to fit near the maximum of their SQUID curve; SQUID curves exhibit non-periodic behavior
Overlap of resonances 14 and 15 and 45 and 45 make SQUID curve analysis difficult

## Slide 13: SQUID Curves with Voltage Applied to Flux Ramp Bias Line (across 1 Φ0)

## Slide 14: SQUID Curves with Voltage Applied to Flux Ramp Bias Line (across 1 Φ0)

## Slide 15: SQUID Curves with Voltage Applied to Flux Ramp Bias Line (across 1 Φ0)

## Slide 16: SQUID Curves with Voltage Applied to Flux Ramp Bias Line (across 1 Φ0)

## Slide 17: SQUID Curves with Voltage Applied to Flux Ramp Bias Line (across 1 Φ0)

## Slide 18: SQUID Curves with Voltage Applied to Flux Ramp Bias Line (across 1 Φ0)

## Slide 19: Fits with Voltage Applied to TES Input Line (across 1 Φ0)
Blue = Data
Orange = Initial Fit
Green = Best Fit
Observations:
No resonances seem to respond to current on the TES input line

## Slide 20: Selected Resistance for TES Input Line